Green buildings

Why harmonize buildings with nature?

Resilience
Whether you want to obtain local materials or energy independence, green buildings allow greater resilience.

Traditional local materials
The use of local and traditional construction materials allows the conservation of construction techniques. Traditionally, vernacular materials (nearby or at short distances) were used, therefore often inexpensive.

Environmental crisis and health
Green buildings make it possible to live in a healthier environment and provide a response to environmental crises (emission of greenhouse gases, toxicity, land use, transport, etc.)

Knowledge exchange
This type of construction requires more labor, therefore more social intensity by sharing ancestral know-how or by using modern techniques with ancestral materials.

Free and open source exhibition, made available by « De la graine à l’humus ».
habitat.graineahumus.org

Font Awesome icons, Creative Commons CC BY license
Pictures Wikimedia | Proofreading: Mickaël Verger, Botmobil, Charlie
The founding principles

Green building has several founding principles.

Founding principles
Among the founding principles, we can cite:

Take into account its environment (climate, vegetation, presence of materials, etc.)
- Interact with its environment (capturing heat and light, treating its waste and wastewater locally, recovering rainwater, etc.)
- Properly manage the flow of air, water, energy and materials used on a daily basis.
- Use healthy and local materials. Avoid composites or transformed materials and favor what can return to the earth without impact.
- Have compact habitats, well oriented, insulated and well ventilated (naturally or mechanically).
- In the case of dwellings, have good thermal inertia.
- Favor less energy-intensive uses (passive, economical, efficient, coupled, recovery of losses, etc.)

Free and open source exhibition, made available by « De la graine à l’humus ».
habitat.graineahumus.org

Font Awesome icons, Creative Commons CC BY license
Pictures Wikimedia | Proofreading: Mickaël Verger, Botmobil, Charlie
Compactness and sunshine

The compactness and the sunshine allow a passive economy.

Compactness
The compactness (c) of a building is equal to its area divided by its volume (S/V). The smaller the number, the more compact the building. A compact building uses less material and less energy.

Sunshine
Sunshine is maximized by windows where the sun is brighter (in the south), moderately bright in the east and west, and very little present in the north. You can also use skylights, light colors and avoid obstacles blocking the light.
The distribution of rooms according to light needs during the day is also important.
It is also necessary to protect yourself from the sun in summer.

Free and open source exhibition, made available by « De la graine à l’humus ».
habitat.graineahumus.org

Font Awesome icons, Creative Commons CC BY license
Pictures Wikimedia | Proofreading: Mickaël Verger, Botmobil, Charlie
Temperature and humidity

Temperature is an important element for well-being and energy reduction.

Perceived temperature
The perceived temperature integrates the temperature of the air and that of the surrounding walls. The wall covering materials are therefore important.

Thermal inertia
Good inertia attenuates temperature variations in both summer and winter.

Insulation
Good insulation minimizes thermal bridges, particularly through EWI (External Wall Insulation). Most often a good insulator is a material that contains still air. The range of natural insulators is varied.

Humidity
Other factors influence thermal comfort, such as ambient air humidity and air velocity.
For comfort, the air should be neither too dry nor too wet.
Some insulation or walls regulate humidity.

Free and open source exhibition, made available by « De la graine à l’humus ».
habitat.graineahumus.org

Font Awesome icons, Creative Commons CC BY license
Pictures Wikimedia | Proofreading: Mickaël Verger, Botmobil, Charlie
Materials

The materials used have functions and impacts.

Impacts and functions
Materials have impacts that must be minimized (energy/transport/recyclability/toxicity on humans and the environment)…
The materials respond to functions (light/heavy, removable, transparent/opaque, thermal or acoustic insulation, hygroscopic, load-bearing, aesthetic, etc.) that satisfy their uses.

Wide diversity
A very wide variety of materials have been used over the centuries to build. Most often because they were locally available and adapted to the needs.
We can cite the best known such as stone, earth, sand, plants, clay, wood or even straw.
Depending on the times and places, less common things were also used such as shells, bones, skin, fur or dung…
From the base of the house to the roof, each of these materials met a need.

Free and open source exhibition, made available by « De la graine à l’humus ».
habitat.graineahumus.org

Font Awesome icons, Creative Commons CC BY license
Pictures Wikimedia | Proofreading: Mickaël Verger, Botmobil, Charlie